Biochemistry Critical Results Telephone Limits

- Notes for laboratory: Those in Red should be called at all times (in and out of hours)

- Those in Black. For GP and Out-patients patients should only be called in hours (Monday to Friday 08:00 – 18:30) or the next day (inc Sat and Sun 09:00 – 17.30).

- These limits are based on the FIRST SET OF MARKEDLY ABNORMAL RESULTS that may be life threatening or of immediate clinical significance. Subsequent results may be telephoned depending on particular change or deterioration as felt significant by a qualified member of staff. Other abnormal results for less frequently requested tests may be telephoned if considered significant by a qualified member of staff.

| ANALYTE | INITIAL RESULT | UNITS | NOTES |
| --- | --- | --- | --- |
| Renal Function |  |  |  |  |
| Sodium ≥ 16 years old | ≤ 120 | ≥ 155 | mmol/L | Check previous results in Telepath. Re-phone if result has deteriorated by 8 mmol/L since previously telephoned |
| <16 years old | ≤ 130 | ≥ 150 | mmol/ |  |
| Potassium | ≤ 2.5 | ≥ 6.5 | mmol/L | ≤ 2.5 add magnesium |
| Creatinine ≥ 16 years old | - | ≥ 300 | umol/L | Add urea |
| <16 years old |  | ≥ 200 | umol/l | Add urea |
| Urea ≥ 16 years old |  | ≥ 30 | mmol/L |  |
| <16 years old |  | ≥ 10 | mmol/L |  |
| AKI |  | AKI= 3 |  |  |
| Liver function |  |  |  |  |
| Alanine transaminase (ALT) |  | ≥ 600 | u/L | If raised in isolation add CK & ɣGT |
| Aspartate transaminase (AST) | - | ≥ 600 | U/L |  |
| Albumin (GP’s Only) | ≤ 20 | - |  |  |
| Ammonia | - | 100 | umol/L |  |
| Amylase | - | ≥ 500 | U/L |  |
| Calcium (adjusted) | ≤ 1.8 | ≥ 3.5 ≥ 3.0 | mmol/L | ≤ 1.8 add Magnesium |
| Carbamazepine | - | ≥ 25 | mg/L | Confirm time of last dose |
| Creatine Kinase (CK) | - | ≥ 5000 | U/L |  |
| C-Reactive protein (CRP) (GP’s Only) | - | ≥ 300 | mg/L |  |
| Cortisol | ≤ 150 | - | nmol/L | Confirm not Post Dexamethasone |
| Digoxin | - | ≥ 2.5 | µg/L | Confirm time of last dose |
| Gentamicin | - | ≥ 3.0 | mg/L | Confirm time of last dose |
| Glucose (Known diabetic) |  | ≥ 25 | mmol/ |  |
| (Unknown) ≥16 years old |  | ≥ 20 | mmol/l |  |
| <16 years old |  | ≥ 15 | mmol/L |  |
| Iron | - | ≥ 50 | umol/L | If overdose suspected. |
| Lithium | - | ≥ 1.5 | mmol/L | Confirm time of last dose |
| Magnesium | ≤ 0.3 | ≥ 3.0 | mmol/L | Add Renal and Calcium |
| Phenytoin | - | ≥ 25 | mg/L |  |
| Phosphate | ≤ 0.3 | - | mmol/L | Add Magnesium |
| Theophylline | - | ≥ 25 | mg/L | Confirm time of last dose |
| Tumour Markers | Do | Not | Phone |  |
| Thyroid Hormone s TSH |  | ≥ 100 | mU/L |  |
| fT4 |  | ≥ 50 | pmol/L | Confirm TSH is suppressed, and call both results |
| Vancomycin | - | ≥ 20 | mg/L | Confirm time of last dose |
| Xanthochromia | Telephone positive results to requesting clinician |

For further information refer to Biochemistry Telephoning SOP (RWF-BS-BIO-SOP19).

Reference -Royal College of Pathologist (G158) – ‘The communication of critical and unexpected pathology results’.  (V1 Oct 2017)