| Analyte | Reference Range | Units | Reference source | Traceable to standard reference material |
| --- | --- | --- | --- | --- |
| Albumin | 35 – 50 | g/L | Pathology harmonisation1 | IRMM BCR470/CRM470 |
| AFP | 0 - 6 | kU/l | Roche2 | 1st IRP WHO Reference Standard 72/225 |
| AST | Male < 50 Female < 35 | U/L | Roche2 | Original formulation IFCC (2002) |
| ALT | Male < 50 Female < 35 | U/L | Roche2 | Original IFCC formulation (2002) |
| Alkaline Phosphatase | 30 – 130 | U/L | Pathology Harmonisation1 | Proposed formulation IFCC (2011) |
| Ammonia | <40 | µmol/L | MetBioNet | “A primary standard” |
| Amylase | 28 - 100 | U/L | Roche2 |  |
| β2-Microglobulin | <60yrs 0.8-2.4 >60yrs </=3.0 | mg/L | Roche2 | WHO standard |
| β-HCG | Male <3 Female: Under 50 years old <5 Over 50 years old <8 | IU/L | Roche2 | 4th Standard 1999 (NIBSC), coded 75/589 |
| Bile Acid | <10 | µmol/L | Dialab4 |  |
| Total Bilirubin | < 21 | µmol/L | Pathology Harmonisation1 | Against the Doumas method3 (Clin.Chem1985) |
| Analyte | Reference Range | Units | Reference source | Traceable to standard reference material |
| Ca125 | < 35 | U/ml | NICE guidelines CG122 | Commercially available radiobinding immunoassay3 |
| Ca153 | < 25 | U/ml | Roche2 | Commercially available radiobinding immunoassay3 |
| Ca199 | < 27 | kU/L | Roche2 | Commercially available radiobinding immunoassay3 |
| Calcium | 2.15-2.55 | mmol/L | Pathology harmonisation1 | SRM 956 c |
| Calprotectin | <150 | ug/g |  | Internal working calibrators and measurement procedures according to EN/ISO 17511 and the EN ISO 18153. |
| Carbamazepine | 4 - 12 | mg/L | Pathology harmonisation1 | Standardised against USP reference standards |
| CEA | < 4 | µg/L | Roche2 | 1st IRP WHO Reference Standard 73/601 |
| Chloride | 95 - 108 | mmol/L | Pathology Harmonisation1 | Gravimetrically defined |
| Total Cholesterol | NICE CG181 guidelines | mmol/L | NICE | Standardised against ID/MS |
| Adjusted Calcium | 2.20 – 2.60 | mmol/L | Pathology harmonisation1 | SRM 956 c (calcium), IRMM |
|  |  |  |  | IFCC BCR470/CRM470 (albumin) |
| Cortisol | Interpretative comment provided with report | nmol/L |  | Standardised against IRMM/IFCC 451-panel |
| Creatine Kinase | Male 40 – 320 Female 25 – 200 | IU/L | Pathology harmonisation1 | Original IFCC Formulation |
| Analyte | Reference Range | Units | Reference source | Traceable to standard reference material |
| Creatinine (enzymatic) | Male 59 – 104 Female 45 – 84 | µmol/L | Roche2 | Standardised against ID/MS3 |
| CRP | < 5 | mg/L | Roche2 | IRMM ERM-DA474/IFCC |
| Digoxin | 0.5 – 2.0 | µg/L | Roche2 | Standardised by weighing United States Pharmacopoeia (USP) material into serum |
| Direct bilirubin | <3 | µmol/L | Roche2 | Standardised against the Jendrassik Grof method3 or Doumas method. |
| Ethanol | None stated | mg/100mL |  | Standardised against NIST traceable materials |
| Ferritin | Male 30 – 400 Female 13 – 150 | µg/L | Roche2 | Standardised against the 1st International Standard NIBSC “Reagent for Ferritin (human liver)” 80/602. |
| Free T3 (FT3) | 3.1 – 6.8 | pmol/L | Roche2 | Equilibrium dialysis3 |
| Free Thyroxine (FT4) | 11.9-21.6 | pmol/L | Roche2 | Equilibrium dialysis3 |
| Follicle stimulating hormone (FSH) | Follicular 3.5 – 12.5 Mid-cycle 4.7 – 21.5 Luteal phase 1.7 – 7.7 Male 1.5-12.4 | IU/L | Roche2 | 2nd IRP WHO reference standard 78/549 |
| Gentamycin | Follow local guidelines | mg/L |  | Standardised against USP reference standards |
| Glucose (fasting) | 3.5 – 5.4 | mmol/L | NICE PH385 | Standardised against ID/MS3 |

| Analyte | Reference Range | Units | Reference source | Traceable to standard reference material |
| --- | --- | --- | --- | --- |
| Glucose (random) | <7.7 | mmol/L | NICE PH385 | Standardised against ID/MS3 |
| γ- glutamyltransfera se (GGT) | Male 10 – 71 Female 6 – 42 | IU/L | Roche2 | IFCC formulation (2002) |
| HbA1c (IFCC) | NICE NG28 guidelines | mmol/mol HbA0 | NICE | IFCC reference material |
| HDL cholesterol | NICE CG181 guidelines | mmol/L | NICE | CDC reference material |
| IgA | 0.70 – 4.00 | g/L | Roche2 | BCR470/CRM470 |
| IgG | 7.00 – 16.00 | g/L | Roche2 | ERM-DA470k/IFCC |
| IgM | 0.40 – 2.30 | g/L | Roche2 | BCR470/CRM470 |
| Iron | 5.8 – 34.5 | µmol/L | Roche2 | SRM 937 |
| LDH | Female 135-214 Male 135-225 | U/L | Roche2 | IFCC |
| LDL cholesterol | NICE CG181 guidelines | mmol/L | NICE | Calculated result |
| Lithium | 0.4 – 1.0 | mmol/L | Pathology Harmonisation1 | SRM 999a |
| Analyte | Reference Range | Units | Reference source | Traceable to standard reference material |
| Luteinising hormone (LH) | Follicular 2.4-12.6 Mid-cycle 14.0-95.6 Luteal 1.0-11.4 Male 1.7-8.6 | IU/L | Roche2 | 2nd International Standard (NIBSC) 80/552 |
| Magnesium | 0.70-1.00 | mmol/L | Pathology Harmonisation1 | Standardised against atomic absorption3 |
| Oestradiol | Follicular 114-332 Mid-cycle 222-1959 Luteal 222-854 Male <159 | pmol/L | Roche2 | CRM 6400a via ID-GC/MS |
| Osmolality (serum) | 275 - 295 | mmol/kg | Pathology Harmonisation1 | NIST (SRM) 919b |
| Paracetamol (acetaminophen) | None stated | mg/L | Pathology Harmonisation1 | USP reference standards |
| Parathyroid Hormone (PTH) | 1.6 – 6.9 | pmol/L | Roche2 | Standardised against an RIA method |
| PET Ratio | <85 | pg/mL | NICE guidelines DG49 | Commercially available assay3 |
| Phenytoin | 5 - 20 | mg/L | Pathology Harmonisation1 | USP reference standards |
| Phosphate | 0.80 – 1.50 | mmol/L | Roche2 | Primary reference material (NERL), weighed in purified material |
| Potassium | 3.5 – 5.3 | mmol/L | Pathology Harmonisation1 | Gravimetrically defined |
| Analyte | Reference Range | Units | Reference source | Traceable to standard reference material |
| N-terminal pro Btype natriuretic peptide (NT-ProBNP) | <400 NICE CG106 | ng/L | NICE | In-house Roche reference system |
| Procalcitonin | <0.49 | ug/L | NICE | BRAHMS PCT LIA assay |
| Prolactin | Female 102-496 Male 86-324 | mIU/L | Roche2 | WHO 3rd IRP 84/500 |
| Progesterone | Interpretative comment provided with result | nmol/L |  | Standardised against ID GC/MS3 |
| qFIT (Faecal Immunochemical test) | 0-9 | Ug Hb/g |  | NICE DG56 "Quantitative faecal immunochemical testing to guide colorectal cancer pathway referral in primary care" |
|  | Male less than 50 years old 11.4-27.9 Male over 50 years old 9.5- 28.3 Female less than 50 years old 0.3-1.7 Female over 50 years old 0.1- 1.4 |  |  |  |
| Testosterone |  | nmol/L | Roche2 | Standardised against ID GC/MS3 |
| Theophylline | 10 - 20 | mg/L | Pathology Harmonisation1 | USP reference standards |
| Total protein | 60 - 80 | g/L | Pathology Harmonisation1 | SRM 927d |
| Analyte | Reference Range | Units | Reference source | Traceable to standard reference material |
| Total PSA | 0-49yrs 0-2.5 50-69yrs 0-3.0 69-79yrs 0-6.5 Above 79 yrs 0-10.0 | ug/L | NICE | Stanford Reference standard/WHO 96/670 (90% PSA-ACT+10% free PSA) |
| Triglyceride | NICE CG181 guidelines | mmol/L | NICE | ID/MS |
| Transferrin | 2.0 – 3.6 | g/L | Roche2 | IRMM BCR470/CRM470 |
| Transferrin Saturation | 15 - 45 | % | Roche2 | IRMM BCR470/CRM470 |
| Troponin T (high sensitivity) | Not consistent with acute event: <20% change; Significant rise:20-100% change with one sample >14; Consistent with MI: >100% change with one sample >14 | ng/L | NICE | In-house Roche reference system (Elecsys Troponin T STAT 3.Gen) 3 |
| Salicylate | None stated | mg/L | Pathology Harmonisation1 | USP reference standards |
| SHBG | Males (20-49yrs) 18.3-54.1 Males (>/= 50yrs) 20.6-76.7 Females (20-49 yrs) 32.4-128 Females (>/= 50 yrs) 27.1-128 | nmol/L | Roche2 | 2nd International Standard (NIBSC) 95/560 |
| Sodium | 133 – 146 | mmol/L | Pathology Harmonisation1 | Gravimetrically defined |
| Analyte | Reference Range | Units | Reference source | Traceable to standard reference material |
| TSH | 0.27-4.2 | mU/L | Roche2 | 2nd IRP WHO Reference Standard 80/558 |
| Urate | Male 200 – 430 Female 140 – 360 | µmol/L | Pathology Harmonisation1 | Standardised against ID/MS3 |
| Urea | 2.5 – 7.8 | mmol/L | Pathology Harmonisation1 | Standardised against ID/MS3 |
| Vancomycin | Follow local guidelines | mg/L |  | USP reference standards |
| Vitamin D | <25 deficient 25-50 Insufficient >50 Sufficient for almost whole population >200 Potentially toxic. Advise review dose and check adjusted Calcium. Recheck vitamin D after 3 months. | nmol/L | National Osteoporosis Society | ID‑LC‑MS/MS 25‑hydroxyvitamin D RMP |

References:

1-  Pathology Harmonisation of Reference Intervals (RWF-BS-BIO-EXT518 rev 1.0)

2 – Roche kit insert active in the MTW Q-pulse Pathology database

3 – This test is traceable to a reference method selected by Roche Diagnostics.

4 - Dialab kit insert active in the MTW Q-pulse Pathology database

5 – Glucose reference range changed in revision 1.1 from the WHO to the NICE recommended range.

Key:

SRM = Standard reference material

CDC = centre for disease control

ID/MS = Isotope dilution mass spectrometry

ID GC/MS = Isotope dilution gas chromatography mass spectrometry

NIBSC = National institute for biological standards and control

USP = US pharmacopeia convention

IRMM = Joint Research Centre Institute for Reference Materials and Measurements